## PLEX Library
PLEX v2.32 — Device Power Library ¦ Limited Energy eXperts ¦ limitedenergy.net/plex
Watts (W) = 90% of nameplate max power consumption. PoE switch W = chassis overhead only; PoE budget tracked separately. UPS W = self-consumption (losses). Board W includes reader port loads.
Category | Device Name | Watts (W) | Rack Units (U) | AC Voltage | Location | PoE Consumer | PoE Switch | PoE Ports | PoE Budget (W) | UPS Cap (W) | UPS Cap (VA) | RT (min) | Is UPS
NVR / VMS Servers
NVR / VMS Servers | Milestone Husky IVO 1800R | 990 | 2 | 120 | Rack
NVR / VMS Servers | Milestone Husky IVO 700R | 315 | 2 | 120 | Rack
NVR / VMS Servers | Milestone Husky IVO 350R | 495 | 1 | 120 | Rack
NVR / VMS Servers | Genetec Streamvault SV-100 | 58 | 1 | 120 | Rack
NVR / VMS Servers | Dell PowerEdge R350 | 540 | 1 | 120 | Rack
NVR / VMS Servers | Generic 1U Server | 300 | 1 | 120 | Rack
PoE Switches
PoE Switches | Cisco CBS350 24P (185W PoE) | 31 | 1 | 120 | Rack |  | Y | 24 | 185
PoE Switches | Cisco CBS350 48P (370W PoE) | 55 | 1 | 120 | Rack |  | Y | 48 | 370
PoE Switches | Cisco CBS350 24FP (370W PoE) | 42 | 1 | 120 | Rack |  | Y | 24 | 370
PoE Switches | Axis D8004 PoE (60W) | 2 | 1 | 120 | Rack |  | Y | 4 | 60
PoE Switches | Hanwha SPOEx-200P8 (240W PoE) | 55 | 1 | 120 | Rack |  | Y | 8 | 240
PoE Switches | Generic Unmanaged 8P PoE (120W) | 30 | 1 | 120 | Rack |  | Y | 8 | 120
PoE Switches | Juniper EX4300-48P (900W PoE+) | 157 | 1 | 120 | Rack |  | Y | 48 | 900
PoE Switches | Juniper EX4300-48MP (1100W PoE++) | 270 | 1 | 120 | Rack |  | Y | 48 | 1100
Cameras (PoE)
Cameras (PoE) | Axis P32 Series (Indoor Dome) | 8 |  | 120 | Rack | Y
Cameras (PoE) | Axis Q61 Series (PTZ) | 60 |  | 120 | Rack | Y
Cameras (PoE) | Axis P14 Series (Bullet) | 13 |  | 120 | Rack | Y
Cameras (PoE) | Hanwha QNV Series (Vandal Dome) | 11 |  | 120 | Rack | Y
Cameras (PoE) | Hanwha XNV Series (Outdoor) | 13 |  | 120 | Rack | Y
Cameras (PoE) | Generic IP Camera (PoE) | 12 |  | 120 | Rack | Y
Cameras (PoE) | Generic IP PTZ (HiPoE/PoE+) | 25 |  | 120 | Rack | Y
UPS
UPS | APC Smart-UPS 1500VA LCD (980W) | 18 | 2 | 120 | Rack |  |  |  |  | 980 | 1500 | 6 | Y
UPS | APC Smart-UPS 2200VA LCD (1980W) | 35 | 2 | 208 | Rack |  |  |  |  | 1980 | 2200 | 7 | Y
UPS | APC Smart-UPS 3000VA LCD (2700W) | 45 | 2 | 208 | Rack |  |  |  |  | 2700 | 3000 | 9 | Y
UPS | Eaton 9PX 1500VA (1350W) | 85 | 2 | 120 | Rack |  |  |  |  | 1350 | 1500 | 5 | Y
UPS | Eaton 9PX 3000VA (2700W) | 170 | 2 | 208 | Rack |  |  |  |  | 2700 | 3000 | 5 | Y
Networking / Other (Rack)
Networking / Other (Rack) | Cisco C9300 24-Port (non-PoE) | 64 | 1 | 120 | Rack
Networking / Other (Rack) | Cisco Catalyst 9300-24S (24p SFP, non-PoE) | 113 | 1 | 120 | Rack
Networking / Other (Rack) | Cisco Meraki MX95 (SD-WAN / Firewall) | 100 | 1 | 120 | Rack
Networking / Other (Rack) | 5G / LTE Cellular Gateway (1U) | 30 | 1 | 120 | Rack
Networking / Other (Rack) | 1U Cable Management - Brush Guard |  | 1 | 120 | Rack
Networking / Other (Rack) | 1U Patch Panel (passive) |  | 1 | 120 | Rack
Networking / Other (Rack) | 2U Patch Panel (passive) |  | 2 | 120 | Rack
Networking / Other (Rack) | Fiber Distribution Unit (FDU 1U) |  | 1 | 120 | Rack
Networking / Other (Rack) | KVM Over IP (1U) | 15 | 1 | 120 | Rack
Networking / Other (Rack) | Console Server (1U) | 15 | 1 | 120 | Rack
Networking / Other (Rack) | PDU (Rack, metered) | 10 | 1 | 120 | Rack
Networking / Other (Rack) | 1U Blank Panel |  | 1 | 120 | Rack
ACS Power Supplies (Wall)
ACS Power Supplies (Wall) | LifeSafety Power FlexPower e2 (2A) | 30 |  | 120 | Wall
ACS Power Supplies (Wall) | LifeSafety Power FlexPower e4 (4A) | 74 |  | 120 | Wall
ACS Power Supplies (Wall) | LifeSafety Power FlexPower e8 (8A) | 110 |  | 120 | Wall
ACS Power Supplies (Wall) | LifeSafety Power FlexPower e12 (12A) | 153 |  | 120 | Wall
ACS Power Supplies (Wall) | Altronix AL600ULX (6A 12/24V) | 100 |  | 120 | Wall
ACS Power Supplies (Wall) | Altronix AL1012ULACM (10A 12V) | 150 |  | 120 | Wall
ACS Door Controllers (Wall)
ACS Door Controllers (Wall) | Mercury MR-52 (2-door, 2 readers/port) | 11 |  | 120 | Wall
ACS Door Controllers (Wall) | Mercury MR-50 (1-door, 2 readers/port) | 6 |  | 120 | Wall
ACS Door Controllers (Wall) | Mercury MR-16 (16-input monitor) | 3 |  | 120 | Wall
ACS Door Controllers (Wall) | Mercury LP1502 (2-door, 2 readers/port) | 12 |  | 120 | Wall
ACS Door Controllers (Wall) | Mercury LP2500 (intelligent controller) | 10 |  | 120 | Wall
ACS Door Controllers (Wall) | Mercury LP4502 (4-door) | 18 |  | 120 | Wall
ACS Door Controllers (Wall) | HID VertX EVO V1000 (1-door) | 12 |  | 120 | Wall
ACS Door Controllers (Wall) | HID VertX EVO V2000 (2-door) | 15 |  | 120 | Wall
ACS Door Controllers (Wall) | Genetec SY-ACU222 Synergis (2-door) | 14 |  | 120 | Wall
Door Hardware / Locks (Wall)
Door Hardware / Locks (Wall) | Electric Strike, Fail Secure (12VDC) | 6 |  | 120 | Wall
Door Hardware / Locks (Wall) | Electric Strike, Fail Secure (24VDC) | 6 |  | 120 | Wall
Door Hardware / Locks (Wall) | Mortise Lock, Fail Secure (12VDC) | 8 |  | 120 | Wall
Door Hardware / Locks (Wall) | Mortise Lock, Fail Secure (24VDC) | 8 |  | 120 | Wall
Door Hardware / Locks (Wall) | Schlage L9092EU Electrified Mortise Lockset (24VDC) | 8 |  | 120 | Wall
Door Hardware / Locks (Wall) | Electromagnetic Lock, Fail Safe | 5 |  | 120 | Wall
Door Hardware / Locks (Wall) | Electric Latch Retraction (ELR) | 18 |  | 120 | Wall
Door Hardware / Locks (Wall) | Request-to-Exit (REX) Sensor | 2 |  | 120 | Wall
Field / Wall Equipment
Field / Wall Equipment | DAS BDA Head End Unit | 100 |  | 120 | Wall
Field / Wall Equipment | EERC Master Station | 25 |  | 120 | Wall
Field / Wall Equipment | EERC Remote Station | 15 |  | 120 | Wall
Field / Wall Equipment | Intercom Master Station (wall) | 20 |  | 120 | Wall
Field / Wall Equipment | Generic Wall-Mount Enclosure | 30 |  | 120 | Wall